## Configurator
[7 empty] | Art.-Nr.- Schlüssel | Typen- Schlüssel
| Selection criterion | Important !!! please make the selection only in the order from top to bottom !!! Version 1.19x.en | [6 empty] | Bitte Auswahl zurücksetzen!
| Installation size | -- please select -- |  |  |  | -- please select -- | - | - | X
| Construction | -- please select -- |  |  |  | -- please select -- | - | - | X
| Switching capacity | -- please select -- |  |  |  | -- please select -- | 0 | - | X
| Number of poles | -- please select -- |  |  |  | -- please select -- |  | - | X
| Busbar system | -- please select -- |  |  |  | -- please select -- |  | - | X
| Mode of drive | -- please select -- |  |  |  | -- please select -- | 0 | - | X
| Version | -- please select -- |  |  |  | -- please select -- |  | - | X
| Number of current transf. | -- please select -- |  |  |  | -- please select -- | - | - | X
| Secondary current transf. | -- please select -- |  |  | 1 | -- please select -- |  | - | X
| Primary current transf. | -- please select -- |  |  |  | -- please select -- | - | - | X
| Category of the current transf. | -- please select -- |  |  |  | -- please select -- | - | - | X
| Wiring of the current transf. | -- please select -- |  |  |  | -- please select -- | 0 | - | X
| Connector strip | -- please select -- |  |  |  | -- please select -- |  | - | X
| Measuring devices | -- please select -- |  |  |  | -- please select -- |  | - | X
| Auxiliary switch | -- please select -- |  |  |  | -- please select -- |  | - | X
| Electronic modules | -- please select -- |  |  |  | -- please select -- |  | - | X
SASIL-P
| Type: | SASIL-P
| Article-No. SASILplus: | A
[15 empty] | 27 | Fabrikat ¦ Typ ¦ Aufbau | Gr.00 | Gr.1 | Gr.2-3 | Gr.1 DS
| Energy distribution: Manufacturer ¦ Type ¦ Construction | [13 empty] | 1 | Please select Energy distribution
| Please select Energy distribution | [13 empty] | 2 | BARTEC ¦ SAFETY COMPACT ¦ asymmetric | A8500300 | A8100010 | A8700074 | A8100143
[15 empty] | 3 | CUBIC ¦ MODULSYSTEM ¦ asymmetric | A8500300 | A8100010 | A8700074 | A8100143
[15 empty] | 4 | EATON ¦ XENERGY ¦ asymmetrisch | A8500300 | A8100010 | A8700074 | A8100143
| Please select Cable holder kit for SASILplus double pluggable | [13 empty] | 5 | EATON ¦ MODAN 2000 ¦ asymmetric | A8500294 | A8100012 | A8700296 | A8100147
[15 empty] | 6 | EATON ¦ MODAN 6000 ¦ asymmetric | A8500294 | A8100012 | A8700296 | A8100147
[15 empty] | 7 | ENSAS ¦ ELPRO ¦ asymmetric | A8500300 | A8100010 | A8700074 | A8100143
[15 empty] | 8 | FEAG ¦ SMART POWER CENTER ¦ asymmetric | A8500300 | A8100010 | A8700074 | A8100143
[15 empty] | 9 | FEAG ¦ ENERGOLINE ¦ asymmetric | A8500300 | A8100010 | A8700074 | A8100143
[15 empty] | 10 | GE ¦ STANDARD ¦ asymmetric | A8500011 | A8100011 | A8700013 | A8100144
[15 empty] | 11 | HUSEMANN ¦NRS II ¦ asymmetric | A8500300 | A8100010 | A8700074 | A8100143
[15 empty] | 12 | HUSEMANN ¦ VARIO E ¦ asymmetric | A8500300 | A8100010 | A8700074 | A8100143
[15 empty] | 13 | JANSSEN-AURICH ¦ TOP DRAW 100/120 ¦ asymmetric | A8500300 | A8100010 | A8700074 | A8100143
[15 empty] | 14 | JANSSEN-AURICH ¦ TOP DRAW PLUS ¦ asymmetric | A8500300 | A8100010 | A8700074 | A8100143
[15 empty] | 15 | KAUTZ ¦ MODUL-K ¦ asymmetric | A8500400 | A8100015 | A8700248 | A8100155
[15 empty] | 16 | LÖGSTRUB ¦ SLIMLINE ¦ asymmetric | A8500300 | A8100010 | A8700074 | A8100143
[15 empty] | 17 | MEHLER ¦ TSRM ¦ asymmetric | A8500300 | A8100010 | A8700074 | A8100143
[15 empty] | 18 | NATUS ¦ ENERGON ¦ asymmetric | A8500300 | A8100010 | A8700074 | A8100143
[15 empty] | 19 | RITTAL ¦ TS8 ¦ asymmetric | A8500300 | A8100010 | A8700074 | A8100143
[15 empty] | 20 | SCHNEIDER ELECTRIC ¦ PRISMA-P ¦ asymmetric | A8500302 | A8100013 | A8700302 | A8100152
[15 empty] | 21 | SCHNEIDER ELECTRIC ¦ PRISMA-PH ¦ asymmetric | A8500302 | A8100013 | A8700302 | A8100152
[15 empty] | 22 | SCHNEIDER ELECTRIC ¦ OKKEN ¦ asymmetric | A8500302 | A8100013 | A8700302 | A8100152
[15 empty] | 23 | SEDOTEC ¦ VAMOCON ¦ asymmetric | A8500300 | A8100010 | A8700074 | A8100143
[15 empty] | 24 | SIEMENS ¦ SIVACON S8 OFFD (SCFa 7) ¦ asymmetric | A8500360 | A8100018 | A8700360 | A8100145
[15 empty] | 25 | SPS WITTENBERG ¦ FERROLINE ¦ asymmetric | A8500300 | A8100010 | A8700074 | A8100143
[15 empty] | 26 | WAGNER & MÜLLER ¦ ID 2000 ¦ asymmetric | A8500300 | A8100010 | A8700074 | A8100143
|  |  | Bezeichnung | Art.-Nr.-Schlüssel | Typen-Schlüssel | [9 empty] | 27 | Please select Energy distribution
1 | Baugröße |  |  |  |  | Baugröße | [8 empty] | 28 | GE ¦ SENPLUS ¦ asymmetrisch | A8500012 | A8100022 | A8700014 | A8100148
|  | 1 | [12 empty] | 29 | HENSEL ¦ HENCONNECT SAS2000/5000 ¦ asymmetrisch | A8500300 | A8100010 | A8700074 | A8100143
|  | 1 | -- please select -- | - | - | -- please select -- | -- please select -- | [7 empty] | 30 | Please select Energy distribution
|  | 2 | DIN |  |  | NH 00 / 160A | BS-A3 / 63A | [7 empty] | 31 | ABB ¦ MNS ¦ symmetric | A8500141 | A8100141 | A8700141 | A8100149
|  | 3 | NH 00 / 160A | 5 | 00 | NH 1 / 250A | BS-B1 / 100A | [7 empty] | 32 | RCL ¦ ELSTEEL ¦ symmetric | A8500300 | A8100010 | A8700074 | A8100143
|  | 4 | NH 1 / 250A | 1 | 1 | NH 2 / 400A | BS-B2 / 200A | [7 empty] | 33 | HAGER ¦ UNIMES H ¦ symmetric | A8500019 | A8100019 | A8700019 | A8100153
|  | 5 | NH 2 / 400A | 2 | 2 | NH 3 / 630A | BS-B4 / 400A | [7 empty] | 34 | KÖHL ¦ MODUCON ¦ short | A8500300 | A8100010 | A8700074 | A8100143
|  | 6 | NH 3 / 630A | 3 | 3 | NH 3 / 1000A (1 consumer) | BS-B6 sond. / 630A | [7 empty] | 35 | KÖHL ¦ MODUPRO ¦ short | A8500300 | A8100010 | A8700074 | A8100143
|  | 7 | BS |  |  | NH 00 / 1000V | [8 empty] | 36 | RITTER ¦ NS3001/SAS3001 ¦ symmetric | A8500300 | A8100010 | A8700074 | A8100143
|  | 8 | BS-A3 / 63A | 9 | A3 | NH 1 / 250A (LTS) | [8 empty] | 37 | RITTER ¦ NS3001/SLF3001 ¦ symmetric | A8500300 | A8100010 | A8700074 | A8100143
|  | 9 | BS-B1 / 100A | 7 | B1 | NH 3 / 800A (LTS) | [8 empty] | 38 | SIEMENS ¦ SIVACON S8 OFFD (SCFa 8) ¦ symmetric | A8500142 | A8100142 | A8700142 | A8100146
|  | 10 | BS-B2 / 200A | 8 | B2 | [9 empty] | 39 | SIEMENS ¦ SIVACON S8 OFFW (SCFa 8) ¦ symmetric | A8500142 | A8100142 | A8700142 | A8100146
|  | 11 | BS-B4 / 400A | 4 | B4 | [9 empty] | 40 | SIEMENS ¦ ALPHA 3200 ¦ symmetric | A8500142 | A8100142 | A8700142 | A8100146
|  | 12 | BS-B6 sond. / 630A | 6 | B6 | [9 empty] | 41 | STRIEBEL & JOHN ¦ TRILINE ¦ symmetric | A8500300 | A8100010 | A8700074 | A8100143
|  | 13 | NH 3 / 1000A (1 consumer) | 3 | 3-1000A | [9 empty] | 42 | STRIEBEL & JOHN ¦ FOURLINE ¦ symmetric | A8500300 | A8100010 | A8700074 | A8100143
|  | 14 | NH 00 / 1000V | 5 | 00-1000V | [9 empty] | 43 | WEBER ¦ UNIMES H ¦ symmetric | A8500300 | A8100010 | A8700074 | A8100143
2 | Aufbau | 15 | NH 3 / 800A (LTS) | 3 | 3-800A / LTS
|  | 1 |  |  |  | Moeller | GE | Eaton | Köhl | Siemens | Husemann
|  | 1 | -- please select -- | - | - | -- please select -- | -- please select -- | -- please select -- | -- please select -- | -- please select -- | -- please select --
|  | 2 | Asymmetric | L | L | Moeller | GE | Eaton | Köhl | Siemens | Husemann
|  | 3 | Symmetric | S | S
|  | 4 | Moeller | M | M
|  | 5 | GE | G | G | [9 empty] | 13
|  | 6 | Eaton | E | E | [9 empty] | 1 | Please select Cable holder kit for SASILplus double pluggable
|  | 7 | Köhl | K | K | [9 empty] | 2 | Cable holder kit size 00 ¦ connection right ¦ 50mm | A8500530
|  | 8 | Siemens | I | I | [9 empty] | 3 | Cable holder kit size 00 ¦ connection right ¦ 87,5mm | A8500531
|  | 9 | Husemann | U | U | [9 empty] | 4 | Cable holder kit size 00 ¦ connection right ¦ 125mm | A8500532
3 | Schaltleistung | [13 empty] | 5 | Please select Cable holder kit for SASILplus double pluggable
|  | 1 | [12 empty] | 6 | Cable holder kit size 1 ¦ connection right ¦ 50mm | A8100530
|  | 1 | -- please select -- | - | - | -- please select -- | -- please select -- | -- please select -- | [6 empty] | 7 | Cable holder kit size 1 ¦ connection right ¦ 87,5mm | A8100531
|  | 2 | Normal (AC-23B/400V ; AC-22B/500-690V Rated conditional short-circuit current 55kA) |  | N | High (AC-23B, Rated conditional short-circuit current 100kA/3AC500V, 35kA/3AC690V) | Normal (AC-22B, Rated conditional short-circuit current 25kA/3AC1000V) | FALSE | [6 empty] | 8 | Cable holder kit size 1 ¦ connection right ¦ 125mm | A8100532
|  | 3 | High (AC-23B, Rated conditional short-circuit current 120kA/3AC500V, 80kA/3AC690V, 35kA/DC440V) |  | H | [9 empty] | 9 | Please select Cable holder kit for SASILplus double pluggable
[15 empty] | 10 | Cable holder kit size 2-3 ¦ connection right ¦ 50mm | A8700530
4 | Polzahl |  |  |  |  | Polzahl | [8 empty] | 11 | Cable holder kit size 2-3 ¦ connection right ¦ 87,5mm | A8700531
| FALSE | 1 | [12 empty] | 12 | Cable holder kit size 2-3 ¦ connection right ¦ 125mm | A8700532
|  |  | 1 | -- please select -- | - | -- please select -- | -- please select -- | -- please select -- | -- please select -- | [5 empty] | 13 | Please select Cable holder kit for SASILplus double pluggable
|  |  | 2 | 2-pole | 2 | 3-pole | 3-pole, 1000A | 3-pole, 1000V | 3-pole, 800A | [5 empty] | 14 | Cable holder kit size 00 ¦ connection left ¦ 50mm | A8500533
|  |  | 3 | 3-pole | 3 | 4-pole, N switched | [8 empty] | 15 | Cable holder kit size 00 ¦ connection left ¦ 87,5mm | A8500534
|  |  | 4 | 4-pole, N switched | 4 | 4-pole, N not switched | [8 empty] | 16 | Cable holder kit size 00 ¦ connection left ¦ 125mm | A8500535
|  |  | 5 | 4-pole, N not switched | 3N | [9 empty] | 17 | Please select Cable holder kit for SASILplus double pluggable
|  |  | 6 | 6-pole (2 consumers) | 6 | [9 empty] | 18 | Cable holder kit size 1 ¦ connection left ¦ 50mm | A8100533
5 | SS-System |  | 7 | 3-pole, 1000A | 3 | [9 empty] | 19 | Cable holder kit size 1 ¦ connection left ¦ 87,5mm | A8100534
|  | 1 | 8 | 3-pole, 1000V | 3 | [9 empty] | 20 | Cable holder kit size 1 ¦ connection left ¦ 125mm | A8100535
|  | 1 | -- please select -- | - | - | -- please select -- | [8 empty] | 21 | Please select Cable holder kit for SASILplus double pluggable
|  | 2 | Busbar system 185-10 |  | 1 | Busbar system 370-10 | [8 empty] | 22 | Cable holder kit size 2-3 ¦ connection left ¦ 50mm | A8700533
|  | 3 | Busbar system 60-5 |  | 6 | Busbar system 120-5 | [8 empty] | 23 | Cable holder kit size 2-3 ¦ connection left ¦ 87,5mm | A8700534
|  | 2 | Busbar system 370-10 |  | 1 | [9 empty] | 24 | Cable holder kit size 2-3 ¦ connection left ¦ 125mm | A8700535
6 | Antriebsart | 3 | Busbar system 120-5 |  | 6
1
|  | 1 | -- please select -- | - | -
|  | 2 | Manual actuation |  | H
|  | 3 | Motor drive |  | M
7 | Leistenart |  |  |  |  | Leistenart
| FALSE | 1 |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
|  | 1 | -- please select -- | - | - | -- please select -- | -- please select -- | -- please select -- | -- please select -- | -- please select -- | -- please select -- | -- please select -- | -- please select -- |  | FALSE
|  | 2 | Outgoing strip / connection right |  | AR | Outgoing strip / connection right | Outgoing strip / connection right | Outgoing strip / connection right | Outgoing strip / connection right as double strip | Outgoing strip / connection right | Outgoing strip / connection right | Outgoing strip / connection right | Outgoing strip / connection right
|  | 3 | Outgoing strip / connection left |  | AL | Outgoing strip / connection left | Outgoing strip / connection left | Outgoing strip / connection left | Outgoing strip / connection left as double strip |  | Outgoing strip / connection left | Power supply strip / connection right | Outgoing strip / connection left
|  | 4 | Power supply strip / connection right |  | ER | Coupling strip / connection right |  | Power supply strip / connection right | Double pluggable Outgoing strip / connection right as double strip |  | Power supply strip / connection right |  | Power supply strip / connection right
|  | 5 | Power supply strip / connection left |  | EL | Coupling strip / connection left |  | Power supply strip / connection left | Double pluggable Outgoing strip / connection left as double strip |  | Power supply strip / connection left |  | Power supply strip / connection left
|  | 6 | Outgoing strip / connection right as double strip |  | ARD | Leistenart 3: Double pluggable Outgoing strip / connection right; Leistenart 6: Coupling strip / connection right
|  | 7 | Outgoing strip / connection left as double strip |  | ALD | Leistenart 3: Double pluggable Outgoing strip / connection left; Leistenart 6: Coupling strip / connection left
|  | 8 | Coupling strip / connection right |  | KR | Leistenart 3: Double pluggable Power supply strip / connection right; Leistenart 6: Double pluggable Outgoing strip / connection right
|  | 9 | Coupling strip / connection left |  | KL | Leistenart 3: Double pluggable Power supply strip / connection left; Leistenart 6: Double pluggable Outgoing strip / connection left
|  | 10 | Outgoing strip / connection right, N-pole not switched |  | ARN | Leistenart 6: Double pluggable Power supply strip / connection right
|  | 11 | Outgoing strip / connection left, N-pole not switched |  | ALN | Leistenart 6: Double pluggable Power supply strip / connection left
|  | 12 | Power supply strip / connection right, N-pole not switched |  | ERN | bar: Leistenart 4 to Leistenart 7
|  | 13 | Power supply strip / connection left, N-pole not switched |  | ELN | bar: Leistenart 4 to Leistenart 7
|  | 14 | Double pluggable Outgoing strip / connection right |  | DS-AR | bar: Leistenart 4 to Leistenart 7
|  | 15 | Double pluggable Outgoing strip / connection left |  | DS-AL | bar: Leistenart 4 to Leistenart 7
|  | 16 | Double pluggable Power supply strip / connection right |  | DS-ER | bar: Leistenart 4 to Leistenart 7
|  | 17 | Double pluggable Power supply strip / connection left |  | DS-EL | bar: Leistenart 4 to Leistenart 7
|  | 18 | Double pluggable Outgoing strip / connection right as double strip |  | DS-ARD | bar: Leistenart 4; Leistenart 6 to Leistenart 7
|  | 19 | Double pluggable Outgoing strip / connection left as double strip |  | DS-ALD | bar: Leistenart 4; Leistenart 6 to Leistenart 7
|  | 20 | Double pluggable Power supply strip / connection right |  | DS-ERD
8 | Wandlerzahl | 21 | Double pluggable Power supply strip / connection left |  | DS-ELD | Leistenart 1: 99; Leistenart 2: 0; Leistenart 3: 0
| FALSE | 1 |  |  |  | Mot | 1 | 1 | Doppelleiste | 4-pole | 2-pole |  |  | 1000A | FALSE
|  | 1 | -- please select -- | - | - | -- please select -- | 2 | 2 | -- please select -- | -- please select -- | -- please select -- |  |  | -- please select --
|  | 2 | without current transformer |  |  | without current transformer | 3 | 3 | without current transformer | without current transformer | without current transformer |  |  | without current transformer
|  | 3 | 1 Current transformer |  | 1 | 1 Current transformer | 4 | 4 | 3+3 Current transformers | 1 Current transformer | 1 Shunt |  |  | 3+3 Current transformers
|  | 4 | 3 Current transformers |  | 3 | 3 Current transformers | 5 | 5 | 4+4 Current transformers | 3 Current transformers
|  | 5 | 4 Current transformers (fourth current transformer only for internal measurement of L1 in Class 1 |  | 3 | Leistenart 2: 6; Leistenart 3: 6; Leistenart 5: 4 Current transformers (fourth current transformer only for internal measurement of L1 in Class 1
|  | 6 | 3+1 Current transformers 3 in 3-pole / 1 in N-pole |  | 3 | Leistenart 2: 7; Leistenart 3: 7; Leistenart 5: 3+1 Current transformers 3 in 3-pole / 1 in N-pole
|  | 7 | 3+3 Current transformers |  | 6 | Leistenart 2: 8; Leistenart 3: 8; Leistenart 5: 4+1 Current transformers 4 in 3-pole / 1 in N-pole
|  | 8 | 4+1 Current transformers 4 in 3-pole / 1 in N-pole |  | 3 | Leistenart 2: 9; Leistenart 3: 9
|  | 9 | 4+4 Current transformers |  | 3 | Leistenart 2: 10; Leistenart 3: A
|  | 10 | 1 Shunt |  | 1 | Leistenart 2: 11; Leistenart 3: B
9 | Wandlersekundärstrom | 11 | 1+1 Current transformers |  |  | Leistenart 2: 12; Leistenart 3: C
|  | 1 |  |  |  | Leistenart 2: 13; Leistenart 3: D |  | FALSE
|  | 1 | -- please select -- | - | - |  | 14 | E | -- please select -- | -- please select -- | -- please select --
|  | 2 |  |  |  |  | 15 | F | 1 A | 1 A | 60 mV
|  | 3 | 1 A |  | 1 | Leistenart 2: 16; Leistenart 3: S; Leistenart 4: 5 A; Leistenart 5: 5 A
|  | 4 | 5 A |  | 5 | Leistenart 2: 17; Leistenart 3: H; Leistenart 5: 0,2 A (only EE07)
|  | 5 | 0,2 A (only EE07) |  | 0.2 | Leistenart 2: 99; Leistenart 3: -
|  | 6 | 60 mV |  | 60
10 | Wandlerprimärstrom |  |  |  |  | Leistenart 1: Wandlerprimärstrom
|  | 1 |  |  |  | 00-50 | 1 | 2 | 3 | 1000A
|  | 1 | -- please select -- | - | - | -- please select -- | -- please select -- | -- please select -- | -- please select -- | -- please select --
|  | 2 |  |  |  | 50 A | 100 A | 150 A | 300 A | 500 A
|  | 3 | 50 A | A | 50 | 60 A | 125 A | 200 A | 400 A | 600 A
|  | 4 | 60 A | B | 60 | Leistenart 1: 75 A; Leistenart 2: 150 A; Leistenart 3: 250 A; Leistenart 4: 500 A
|  | 5 | 75 A | C | 75 | Leistenart 1: 100 A; Leistenart 2: 200 A; Leistenart 3: 300 A; Leistenart 4: 600 A
|  | 6 | 100 A | D | 100 | Leistenart 1: 125 A; Leistenart 2: 250 A; Leistenart 3: 400 A
|  | 7 | 125 A | E | 125 | Leistenart 1: 150 A
|  | 8 | 150 A | F | 150 | bar: Leistenart 2 to Leistenart 4
|  | 9 | 200 A | G | 200 | bar: Leistenart 2 to Leistenart 4
|  | 10 | 250 A | H | 250
|  | 11 | 300 A | J | 300
|  | 12 | 400 A | K | 400
|  | 13 | 500 A | L | 500
|  | 14 | 600 A | M | 600
11 | Wandlerklasse |  |  |  |  | Leistenart 1: Wandlerklasse
|  | 1 |  |  |  | 50 A | ab 60 A | ab 100 A | ab 150 A | Shunt
|  | 1 | -- please select -- | - | - | -- please select -- | -- please select -- | -- please select -- | -- please select -- | -- please select --
|  | 2 |  |  |  | Industrial current transformer Class 3 (W) | Industrial current transformer Class 1 (W) | Industrial current transformer Class 1 (W) | Industrial current transformer Class 1 (W) | Shunt Class 0,5
|  | 3 | Industrial current transformer Class 3 (W) | 3 | W | Leistenart 3: Industrial current transformer Class 0,5 (WV); Leistenart 4: Industrial current transformer Class 0,5 (WV)
|  | 4 | Industrial current transformer Class 1 (W) | 1 | W | Leistenart 3: Current transformer for tariffs, certified, without calibration certificate Class 0,5 (WVB); Leistenart 4: Current transformer for tariffs, certified, without calibration certificate Class 0,5 (WVB)
|  | 5 | Industrial current transformer Class 0,5 (WV) | 4 | WV | Leistenart 3: Current transformer for tariffs, certified, with calibration certificate Class 0,5 (WVE); Leistenart 4: Current transformer for tariffs, certified, with calibration certificate Class 0,5 (WVE)
|  | 6 | Current transformer for tariffs, certified, without calibration certificate Class 0,5 (WVB) | 5 | WVB | Leistenart 3: Current transformer for tariffs, certified, with calibration certificate, with indication of measured data Class 0,5 (WVM); Leistenart 4: Current transformer for tariffs, certified, with calibration certificate, with indication of measured data Class 0,5 (WVM)
|  | 7 | Current transformer for tariffs, certified, with calibration certificate Class 0,5 (WVE) | 6 | WVE | Leistenart 3: Industrial current transformer Class 0,5S (WVS); Leistenart 4: Industrial current transformer Class 0,5S (WVS)
|  | 8 | Current transformer for tariffs, certified, with calibration certificate, with indication of measured data Class 0,5 (WVM) | 7 | WVM | Leistenart 3: Current transformer for tariffs, certified, without calibration certificate Class 0,5s (WVSB); Leistenart 4: Current transformer for tariffs, certified, without calibration certificate Class 0,5s (WVSB)
|  | 9 | Industrial current transformer Class 0,5S (WVS) | 8 | WVS | Leistenart 3: Current transformer for tariffs, certified, with calibration certificate Class 0,5s (WVSE); Leistenart 4: Current transformer for tariffs, certified, with calibration certificate Class 0,5s (WVSE)
|  | 10 | Current transformer for tariffs, certified, without calibration certificate Class 0,5s (WVSB) | 9 | WVSB | Leistenart 3: Current transformer for tariffs, certified, with calibration certificate, with indication of measured data Class 0,5s (WVSM); Leistenart 4: Current transformer for tariffs, certified, with calibration certificate, with indication of measured data Class 0,5s (WVSM)
|  | 11 | Current transformer for tariffs, certified, with calibration certificate Class 0,5s (WVSE) | A | WVSE | Leistenart 4: Industrial current transformer Class 0,2 (WZ)
|  | 12 | Current transformer for tariffs, certified, with calibration certificate, with indication of measured data Class 0,5s (WVSM) | B | WVSM | Leistenart 4: Current transformer for tariffs, certified, without calibration certificate Class 0,2 (WZB)
|  | 13 | Industrial current transformer Class 0,2 (WZ) | C | WZ | Leistenart 4: Current transformer for tariffs, certified, with calibration certificate Class 0,2 (WZE)
|  | 14 | Current transformer for tariffs, certified, without calibration certificate Class 0,2 (WZB) | D | WZB | Leistenart 4: Current transformer for tariffs, certified, with calibration certificate, with indication of measured data Class 0,2 (WZM)
|  | 15 | Current transformer for tariffs, certified, with calibration certificate Class 0,2 (WZE) | E | WZE | bar: Leistenart 4
|  | 16 | Current transformer for tariffs, certified, with calibration certificate, with indication of measured data Class 0,2 (WZM) | F | WZM | bar: Leistenart 4
|  | 17 | Industrial current transformer Class 0,2S (WZS) | G | WZS | bar: Leistenart 4
|  | 18 | Current transformer for tariffs, certified, without calibration certificate Class 0,2s (WZSB) | H | WZSB | bar: Leistenart 4
|  | 19 | Current transformer for tariffs, certified, with calibration certificate Class 0,2s (WZSE) | J | WZSE
|  | 20 | Current transformer for tariffs, certified, with calibration certificate, with indication of measured data Class 0,2s (WZSM) | K | WZSM
12 | Wandlerverdrahtung |  |  |  |  | Leistenart 1: Verdrahtung
1
|  | 1 | -- please select -- | - | - | -- please select -- | -- please select -- | -- please select -- | -- please select -- | -- please select --
|  | 2 | without wiring of the current transformers |  |  | Current transformer wiring on connector strip for external connection | Current transformer wiring on measuring device | Current transformer wiring on measuring device and connector strip | Internal wiring on circuit board EE07 | Current transformer wiring on measuring device
|  | 3 | Current transformer wiring on measuring device |  | M | Leistenart 2: Current transformer wiring on connector strip for external connection; Leistenart 3: Current transformer wiring on connector strip for external connection; Leistenart 5: Current transformer wiring on connector strip for external connection
|  | 4 | Current transformer wiring on measuring device and connector strip |  | MS | Leistenart 2: Current transformer wiring on measuring device and connector strip; Leistenart 5: Current transformer wiring on measuring device and connector strip
|  | 5 | Current transformer wiring on connector strip for external connection |  | S | bar: Leistenart 2
|  | 6 | Current transformer wiring on connector strip 4-pole (N-Conductor) |  | SN | bar: Leistenart 2
|  | 7 | Cable prepared for mounting of current transformers, measuring devices and auxiliary switches with plug connector strip (SKL) |  | KV
|  | 8 | Internal wiring on circuit board EE07
13 | Steckerleiste |  |  |  |  | Leistenart 1: Steckerleiste
1
|  | 1 | -- please select -- | - | - | Leistenart 1: -- please select --
|  | 2 | without connector strip |  |  | Leistenart 1: Connector strip for external connection
|  | 3 | Connector strip for external connection |  | SKL
14 | Messgerät |  |  |  |  | Leistenart 1: Messgerät
| FALSE | 1 |  |  |  | Leistenart 1: 3-pole; Leistenart 2: 2-pole |  | 4
|  | 1 | -- please select -- | - | - | Leistenart 1: -- please select --; Leistenart 2: -- please select --
|  | 2 | without measuring device |  |  | Leistenart 1: Moving iron measuring device; Leistenart 2: Moving coil measuring device
|  | 3 | Moving iron measuring device |  | MD | Leistenart 1: Bimetallic instrument, with drag idicator, setting time 8min.
|  | 4 | Bimetallic instrument, with drag idicator, setting time 8min. |  | MB8 | Leistenart 1: Bimetallic instrument, with drag idicator, setting time 15min.
|  | 5 | Bimetallic instrument, with drag idicator, setting time 15min. |  | MB15
15 | Hilfsschalter | 6 | Moving coil measuring device |  | MDS
1
|  | 1 | -- please select -- | - | - | Leistenart 1: -- please select --
|  | 2 | without position indicator |  |  | Leistenart 1: 1 make and 1 break
|  | 3 | 1 make and 1 break |  | NC+NO
16 | Elektronik / Spannungsabgriff | bar: Leistenart 2 to Leistenart 5
| 0 | 1 |  |  |  | Leistenart 1: Mot; Leistenart 2: 3-pole; Leistenart 3: 2-pole; Leistenart 4: EE07 |  | FALSE
|  | 1 | -- please select -- | - | - | -- please select -- | -- please select -- | -- please select -- | -- please select -- | -- please select -- | -- please select --
|  | 2 | without electronic modules |  |  | Electronic fuse monitoring, seperate-supply, ES08 | without electronic modules | without electronic modules | Electronic monitoring module EE07 for energy management system PLVario-NET | without electronic modules | without electronic modules
|  | 3 | Electronic fuse monitoring, self-supply, ES07 |  | ES07 | Leistenart 2: Electronic fuse monitoring, self-supply, ES07; Leistenart 3: Electronic fuse monitoring, just for DC applications, seperate-supply, ES09; Leistenart 5: Electronic fuse monitoring, self-supply, ES07; Leistenart 6: Electronic fuse monitoring, self-supply, ES07
|  | 4 | Electronic monitoring module EE07 for energy management system PLVario-NET |  | EE07 | Leistenart 2: Electronic fuse monitoring, seperate-supply, ES08; Leistenart 5: Electronic fuse monitoring, seperate-supply, ES08; Leistenart 6: Electronic fuse monitoring, seperate-supply, ES08
|  | 5 | Electronic fuse monitoring, seperate-supply, ES08 |  | ES08 | Leistenart 5: Voltage tap output
|  | 6 | Electronic fuse monitoring, just for DC applications, seperate-supply, ES09 |  | ES09 | Leistenart 5: Voltage tap at the fuse-output
|  | 7 | Voltage tap output |  | UA | Leistenart 5: Voltage tap input
|  | 8 | Voltage tap input |  | UE | Leistenart 5: Voltage tap at the fuse-input
|  | 9 | Voltage tap input and voltage tap output |  | UE+UA | Leistenart 5: Voltage tap input and voltage tap output
|  | 10 | Voltage tap at the fuse-output and voltage tap at the fuse-input |  | UF | Leistenart 5: Voltage tap at the fuse-output and voltage tap at the fuse-input
|  | 11 | Voltage tap at the fuse-output |  | UAF | Leistenart 5: Electronic fuse monitoring, self-supply, ES07 + Voltage tap output
|  | 12 | Voltage tap at the fuse-input |  | UEF | bar: Leistenart 2 to Leistenart 5
|  | 13 | Electronic fuse monitoring, self-supply, ES07 + Voltage tap output |  | ES07+UA | bar: Leistenart 2 to Leistenart 5
Verdrahtung Wandler | Steckerleiste | Messgerät | Hilfsschalter | Elektronik / UA | Schlüssel
2 | 2 | 2 | 2 | 2 | 00
3 | 2 | 3 | 2 | 2 | 01
3 | 2 | 6 | 2 | 2 | 01
3 | 2 | 4 | 2 | 2 | 02
3 | 2 | 5 | 2 | 2 | 03
4 | 3 | 3 | 2 | 2 | 04
4 | 3 | 4 | 2 | 2 | 05
4 | 3 | 5 | 2 | 2 | 06
5 | 3 | 2 | 2 | 2 | 07
4 | 3 | 3 | 3 | 2 | 10
4 | 3 | 6 | 3 | 2 | 10
4 | 3 | 4 | 3 | 2 | 11
4 | 3 | 5 | 3 | 2 | 12
2 | 3 | 2 | 3 | 2 | 13
5 | 3 | 2 | 3 | 2 | 13
5 | 3 | 2 | 2 | 3 | 20
4 | 3 | 3 | 3 | 3 | 21
4 | 3 | 4 | 3 | 3 | 22
4 | 3 | 5 | 3 | 3 | 23
5 | 3 | 2 | 3 | 3 | 24
2 | 3 | 2 | 2 | 3 | 25
2 | 3 | 2 | 3 | 3 | 26
4 | 3 | 3 | 2 | 3 | 27
4 | 3 | 4 | 2 | 3 | 28
4 | 3 | 5 | 2 | 3 | 29
2 | 3 | 2 | 2 | 13 | 30
5 | 3 | 2 | 2 | 13 | 30
5 | 3 | 2 | 2 | 5 | 32
4 | 3 | 3 | 3 | 5 | 33
4 | 3 | 4 | 3 | 5 | 34
4 | 3 | 5 | 3 | 5 | 35
5 | 3 | 2 | 3 | 5 | 36
2 | 3 | 2 | 2 | 5 | 37
8 | 3 | 2 | 2 | 4 | 38
8 | 3 | 2 | 3 | 4 | 39
8 | 3 | 3 | 2 | 4 | 3A
8 | 3 | 4 | 2 | 4 | 3B
8 | 3 | 5 | 2 | 4 | 3C
8 | 3 | 3 | 3 | 4 | 3D
8 | 3 | 4 | 3 | 4 | 3E
8 | 3 | 5 | 3 | 4 | 3F
2 | 3 | 2 | 3 | 5 | 40
4 | 3 | 3 | 2 | 5 | 41
4 | 3 | 4 | 2 | 5 | 42
4 | 3 | 5 | 2 | 5 | 43
2 | 3 | 2 | 2 | 6 | 48
2 | 3 | 2 | 3 | 6 | 49
3 | 3 | 6 | 2 | 6 | 50
3 | 3 | 6 | 3 | 6 | 51
5 | 3 | 2 | 2 | 6 | 52
5 | 3 | 2 | 3 | 6 | 53
5 | 3 | 2 | 2 | 7 | 60
3 | 3 | 3 | 2 | 7 | 61
3 | 3 | 4 | 2 | 7 | 62
3 | 3 | 5 | 2 | 7 | 63
4 | 3 | 3 | 2 | 7 | 64
4 | 3 | 4 | 2 | 7 | 65
4 | 3 | 5 | 2 | 7 | 66
4 | 3 | 3 | 3 | 7 | 67
4 | 3 | 4 | 3 | 7 | 68
4 | 3 | 5 | 3 | 7 | 69
2 | 3 | 2 | 2 | 7 | 6A
5 | 3 | 2 | 3 | 7 | 6M
2 | 3 | 2 | 3 | 7 | 6N
5 | 3 | 2 | 2 | 11 | 6B
3 | 3 | 3 | 2 | 11 | 6C
3 | 3 | 4 | 2 | 11 | 6D
3 | 3 | 5 | 2 | 11 | 6E
4 | 3 | 3 | 2 | 11 | 6F
4 | 3 | 4 | 2 | 11 | 6G
4 | 3 | 5 | 2 | 11 | 6H
4 | 3 | 3 | 3 | 11 | 6I
4 | 3 | 4 | 3 | 11 | 6J
4 | 3 | 5 | 3 | 11 | 6K
2 | 3 | 2 | 2 | 11 | 6L
5 | 3 | 2 | 3 | 11 | 6O
2 | 3 | 2 | 3 | 11 | 6P
5 | 3 | 2 | 2 | 8 | 70
3 | 3 | 3 | 2 | 8 | 71
3 | 3 | 4 | 2 | 8 | 72
3 | 3 | 5 | 2 | 8 | 73
4 | 3 | 3 | 2 | 8 | 74
4 | 3 | 4 | 2 | 8 | 75
4 | 3 | 5 | 2 | 8 | 76
4 | 3 | 3 | 3 | 8 | 77
4 | 3 | 4 | 3 | 8 | 78
4 | 3 | 5 | 3 | 8 | 79
2 | 3 | 2 | 2 | 8 | 7A
5 | 3 | 2 | 3 | 8 | 7M
2 | 3 | 2 | 3 | 8 | 7N
5 | 3 | 2 | 2 | 12 | 7B
3 | 3 | 3 | 2 | 12 | 7C
3 | 3 | 4 | 2 | 12 | 7D
3 | 3 | 5 | 2 | 12 | 7E
4 | 3 | 3 | 2 | 12 | 7F
4 | 3 | 4 | 2 | 12 | 7G
4 | 3 | 5 | 2 | 12 | 7H
4 | 3 | 3 | 3 | 12 | 7I
4 | 3 | 4 | 3 | 12 | 7J | bar: Leistenart 2 to Leistenart 5
4 | 3 | 5 | 3 | 12 | 7K | bar: Leistenart 2 to Leistenart 5
2 | 3 | 2 | 2 | 12 | 7L | bar: Leistenart 2 to Leistenart 5
5 | 3 | 2 | 3 | 12 | 7O | bar: Leistenart 2 to Leistenart 5
2 | 3 | 2 | 3 | 12 | 7P | bar: Leistenart 2 to Leistenart 3
2 | 3 | 2 | 2 | 9 | 81 | bar: Leistenart 2 to Leistenart 3
2 | 3 | 2 | 3 | 9 | 82 | bar: Leistenart 2 to Leistenart 3
2 | 3 | 2 | 2 | 10 | 83 | bar: Leistenart 2 to Leistenart 3
2 | 3 | 2 | 3 | 10 | 84 | bar: Leistenart 2 to Leistenart 3
1 | 1 | 1 | 1 | 1 | 0 | bar: Leistenart 2 to Leistenart 3
SASILplus Configurator
with SASILplus double pluggable

## Cabinet systems
Cabinet systems for SASILplus DIN/EN 60439-1, DIN/EN 61439-2
Manufacturer ¦ Type | Construction | Busbar system | Type Strip guide | Article-No. Strip guide
|  |  |  | size 00 | size 1 | size 2-3 | size 1 DS
BARTEC ¦ SAFETY COMPACT | asymmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
CUBIC ¦ MODULSYSTEM | asymmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
EATON ¦ XENERGY | asymmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
EATON ¦ MODAN 2000 | asymmetric | 185 | LF05 | A8500294 | A8100012 | A8700296 | A8100147
EATON ¦ MODAN 6000 | asymmetric | 185 | LF05 | A8500294 | A8100012 | A8700296 | A8100147
ENSAS ¦ ELPRO | asymmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
FEAG ¦ SMART POWER CENTER | asymmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
FEAG ¦ ENERGOLINE | asymmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
GE ¦ STANDARD | asymmetric | 185 | LF01 | A8500011 | A8100011 | A8700013 | A8100144
HUSEMANN ¦NRS II | asymmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
HUSEMANN ¦ VARIO E | asymmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
JANSSEN-AURICH ¦ TOP DRAW 100/120 | asymmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
JANSSEN-AURICH ¦ TOP DRAW PLUS | asymmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
KAUTZ ¦ MODUL-K | asymmetric | 185 | LF04 | A8500400 | A8100015 | A8700248 | A8100155
LÖGSTRUB ¦ SLIMLINE | asymmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
MEHLER ¦ TSRM | asymmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
NATUS ¦ ENERGON | asymmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
RITTAL ¦ TS8 | asymmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
SCHNEIDER ELECTRIC ¦ PRISMA-P | asymmetric | 185 | LF09 | A8500302 | A8100013 | A8700302 | A8100152
SCHNEIDER ELECTRIC ¦ PRISMA-PH | asymmetric | 185 | LF09 | A8500302 | A8100013 | A8700302 | A8100152
SCHNEIDER ELECTRIC ¦ OKKEN | asymmetric | 185 | LF09 | A8500302 | A8100013 | A8700302 | A8100152
SEDOTEC ¦ VAMOCON | asymmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
SIEMENS ¦ SIVACON S8 OFFD (SCFa 7) | asymmetric | 185 | LF12 | A8500360 | A8100018 | A8700360 | A8100145
SPS WITTENBERG ¦ FERROLINE | asymmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
WAGNER & MÜLLER ¦ ID 2000 | asymmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
GE ¦ SENPLUS | asymmetric | 60 | LF03 | A8500012 | A8100022 | A8700014 | A8100148
HENSEL ¦ HENCONNECT SAS2000/5000 | asymmetric | 60 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
ABB ¦ MNS | symmetric | 185 | LF14 | A8500141 | A8100141 | A8700141 | A8100149
RCL ¦ ELSTEEL | symmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
HAGER ¦ UNIMES H | symmetric | 185 | LF01 | A8500019 | A8100019 | A8700019 | A8100153
KÖHL ¦ MODUCON | symmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
KÖHL ¦ MODUPRO | symmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
RITTER ¦ NS3001/SAS3001 | symmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
RITTER ¦ NS3001/SLF3001 | symmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
SIEMENS ¦ SIVACON S8 OFFD (SCFa 8) | symmetric | 185 | LF14 | A8500142 | A8100142 | A8700142 | A8100146
SIEMENS ¦ SIVACON S8 OFFW (SCFa 8) | symmetric | 185 | LF14 | A8500142 | A8100142 | A8700142 | A8100146
SIEMENS ¦ ALPHA 3200 | symmetric | 185 | LF14 | A8500142 | A8100142 | A8700142 | A8100146
STRIEBEL & JOHN ¦ TRILINE | symmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
STRIEBEL & JOHN ¦ FOURLINE | symmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143
WEBER ¦ UNIMES H | symmetric | 185 | LF01 | A8500300 | A8100010 | A8700074 | A8100143